# AI Implementation Case Study: AI-Assisted Review of 2D TOPS Drawings

# Problem Statement

In TOPS pumping station projects, design work is primarily based on 2D drawings (.dwg / PDF). The review process involves checking drawings against:

- Past TOPS project layouts

- WIMES, SSG, and HI standards

- Internal design practices

# Key Challenges

- Manual checking of 2D layouts is time-consuming

- Limited reuse of past drawing knowledge

- High chance of missing errors or deviations

- Repetitive review comments across projects

# Objective

To develop a small-scale AI-assisted review system for 2D TOPS drawings that:

- Uses past approved 2D drawings (PDF/DWG)

- Verifies compliance with WIMES, SSG, HI standards

- Generates review comments automatically

# Solution Approach

A. Data Preparation

- Collected past TOPS 2D drawings (PDF format)

- Identified:

  - Standard layouts

  - Common mistakes (valve position, clearance, routing)

- Created basic checklist from standards:

  - Pump spacing

  - Suction pipe length

  - Valve accessibility

  - Maintenance clearance

B. AI Integration (2D Focus)

Using AI tools (Copilot / ChatGPT-like tools):

- Upload:

  - Past drawing PDFs

  - New drawing PDF

- AI performs:

  - Layout comparison

  - Rule-based validation

  - Pattern matching with past designs

C. Review Workflow (Practical)

- Prepare:

  - Past reference drawings

  - New TOPS drawing

- Input to AI:

  - Ask to:

    - Compare layouts

    - Check against defined rules

- AI Output:

  - List of review comments

  - Suggested corrections

D. Sample Output (2D Drawing Review)

- Pump-to-pump spacing appears lower than standard reference projects

- Suction pipe straight length not sufficient as per WIMES guideline

- Valve location may restrict maintenance access

- Missing drain valve in pipeline section

- Compare with past project layout – improved accessibility possible

Equivalent to design checker comments

E. Scope of Implementation

Applied Only To:

- 2D TOPS drawings

- PDF / DWG formats

Not Dependent On:

- 3D model

- Advanced software

F. Results & Benefits

Efficiency

- 15–20% reduction in drawing review time

Quality

- Improved compliance with:

  - WIMES

  - SSG

  - HI

- Reduced missed issues

G. Knowledge Reuse

- Past designs reused effectively

- Reduced reliance on memory/experience

H. Consistency

- Standardized review comments

- Uniform quality across drawings